| Hot Water Heat Pump | AHRI # 217166009 Brand and description: A.O. Smith Signature 900 50-Gallon Hybrid Heat Pump Water Heater Model # HPSN10-50H45DV 2** UEF: 3.8 Tank size: 50 gallons Description of installation labor Disconnect, remove, and replace the existing water heater with an ENERGY STAR heat pump water heater. Disposal of removed equipment. Disconnect existing water and gas or electrical connections and venting, as required. Install the new water heater as specified in this proposal. Set the unit in the existing location. Connect to existing, serviceable water piping, gas or electric supply, temperature and pressure relief piping, and venting if applicable. Start the unit and verify proper operation upon completion. |
| --- | --- |

| Electrical | Detailed description Materials needed, approximate length of wire: Wires for changing out HVAC and Water Heater from Gas to Electric Which qualified upgrade install requires electrical wiring: HVAC, WH Description of labor involved: Electrician will be updating panel and upgrades to electrical because of WH and HVAC |
| --- | --- |
| Electrical Panel | Detailed description: Panel is not installed correctly. Is a potential hazard, and unsafe. We need to ensure new box has room for new upgraded systems. Materials needed: New panel box and updated breakers. Specify main panel or subpanel: Main panel Description of labor involved: Electrician will update the panel and breakers as required by qualified equipment installation. |

| Energy Star HVAC | AHRI - 217016555 York 2 Ton HP ODU R454B. The YC6 models are 16+ SEER2 high-efficiency outdoor HVAC units designed to pair with residential indoor systems for complete home comfort solutions across the U.S. and Canada. ODU: YH624E2S11 AHU: JHE24B5AC2SS1 Heater Kit: S1-8HK16500506 HSPF2 - 8 SEER2 - 16 EER2 - 12 Heating capacity 24000 BTU Cooling capacity 24000 BTU York 2 Ton AHU Description of install labor Our Exclusive 1 Year Installation Warranty Evacuate refrigerant system, removes air and water Ensure proper amount of freon in AC or HP Complete inspection upon completion Remove and dispose used equipment Ensures proper drainage Clean up work area before leaving worksite Sealed connections for greater efficiency Includes County permit WIFI Thermostat 10 year compressor warranty 10 year parts warranty Equipment Pad to stabilize outdoor unit Equipment selection and sizing per our Heating & Cooling load calculations. Honeywell smart thermostat. 5” display comes with Equipment Interface Module for 2 wire operation. Drip pan for air handler/furnace New return air flex install - R-8 foil backed flex New supply air flex install - R-8 foil backed flex New return plenum box made of metal and insulated New supply plenum distribution box made of metal and insulated Standard duct work transition County Permit included Reconnect indoor equipment to existing electrical Reconnect outdoor equipment to existing electrical |
| --- | --- |

| Crawl Space Insulation | Description of insulation Location of insulation to be installed Crawl Space Square feet of area to be insulated: 1100 ○ype of Energy Star insulation: Owen Corning Pink Next Gen ○ Current R value: 0 ○ Ending R value: 19 |
| --- | --- |
| Air Seal | List of each air sealing location (attic, crawlspace, basement, etc.). ● Description of which penetrations and air infiltration will be addressed. Air seal foam ● Description of product: Insulate foam |