| PO Number | PO-0030 | Date | 10/7/2026 |
| --- | --- | --- | --- |
| Vendor | Air Carolinas 103 E J J Dr Greensboro, NC 27406 | Terms | Net 30 |
| Customer | Danielle Roberts | Quote | 068947 |
| Install Address | 609 Grantham Lane Charlotte, NC 28262 | Reference | #30 |
| Bill To | Leading Energy Solutions LLC 10034 Goose Landing Dr Charlotte, NC 28269 | Buyer | Leading Energy Solutions |

| Item | Description | Qty | Unit Cost | Amount |
| --- | --- | --- | --- | --- |
| YH636E2S11 | YORK HP 16+3 TON R454B S08/230/1 STANDARD CONTROLS | 1 | $2223.00 | $2223.00 |
| Y91E060B12SMPS1 | YORK, CONDENSING FURNACE, SING STAGE, ECM MTR, 60K BTU, MULTI | 1 | $1,393.00 | $1,393.00 |
| S18HK1650806 | YORK MULTI-POSITION COIL 3 TON | 1 | $865.00 | $865.00 |
| S1-1CT0303 | SOURCE 1 - CONCENTRIC VENT TERMINAL 3" | 1 | $74.00 | $74.00 |
| 8627876 | A.O. Smith Signature 900 50 Gal Hybrid Water Heater | 1 | $1,697.00 | $1,697.00 |

Subtotal: $6,252.00
Tax: $0.00
TOTAL: $6,252.00

Delivery Instructions:
• Reference Air Carolinas Quote 068947 and Reference #30 on all packing slips.

| Authorized Signature ________________________ | Date 10/7/26 |
| --- | --- |

| PO Number | PO-0007 | Date | 08/12/2026 |
| --- | --- | --- | --- |
| Vendor | Air Carolinas 103 E J J Dr Greensboro, NC 27406 | Terms | Net 30 |
| Customer | Editt Cruz Santos | Quote | 067008 |
| Install Address | 1438 Sansberry Road, Charlotte, NC 28262 | Reference | #7 |
| Bill To | Leading Energy Solutions LLC 10034 Goose Landing Dr Charlotte, NC 28269 | Buyer | Leading Energy Solutions |

| Item | Description | Qty | Unit Cost | Amount |
| --- | --- | --- | --- | --- |
| YH636E2S11 | York 3 Ton Heat Pump | 1 | $2,368.24 | $2,368.24 |
| JHE36B5CD2SS1 | York Air Handler | 1 | $1,245.65 | $1,245.65 |
| S18HK1650806 | 7.5kW Electric Heat Kit | 1 | $137.02 | $137.02 |
| 8627876 | A.O. Smith Signature 900 50 Gal Hybrid Water Heater | 1 | $1,680.90 | $1,680.90 |

Subtotal: $5,431.81
Tax: $0.00
TOTAL: $5,431.81

| Authorized Signature ________________________ | Date 8/12/26 |
| --- | --- |

| PO Number | PO-0008 | Date | 08/12/2026 |
| --- | --- | --- | --- |
| Vendor | Air Carolinas 103 E J J Dr Greensboro, NC 27406 | Terms | Net 30 |
| Customer | Carolyn Houtz | Quote | 067009 |
| Install Address | 12511 Robert Walker Drive, Davidson, NC 28036 | Reference | #8 |
| Bill To | Leading Energy Solutions LLC 10034 Goose Landing Dr Charlotte, NC 28269 | Buyer | Leading Energy Solutions |

| Item | Description | Qty | Unit Cost | Amount |
| --- | --- | --- | --- | --- |
| YH636E2S11 | York 3 Ton Heat Pump | 1 | $2,368.24 | $2,368.24 |
| JHE36B5CD2SS1 | York Air Handler | 1 | $1,245.65 | $1,245.65 |
| S18HK1650806 | 7.5kW Electric Heat Kit | 1 | $137.02 | $137.02 |
| 8627876 | A.O. Smith Signature 900 50 Gal Hybrid Water Heater | 1 | $1,680.90 | $1,680.90 |

Subtotal: $5,431.81
Tax: $0.00
TOTAL: $5,431.81

| Authorized Signature ________________________ | Date 8/12/26 |
| --- | --- |

| PO Number | PO-0009 | Date | 08/12/2026 |
| --- | --- | --- | --- |
| Vendor | Air Carolinas 103 E J J Dr Greensboro, NC 27406 | Terms | Net 30 |
| Customer | Komlan Messan Ognod | Quote | 067010 |
| Install Address | 6227 Day Lilly Lane, Charlotte, NC 28216 | Reference | #9 |
| Bill To | Leading Energy Solutions LLC 10034 Goose Landing Dr Charlotte, NC 28269 | Buyer | Leading Energy Solutions |

| Item | Description | Qty | Unit Cost | Amount |
| --- | --- | --- | --- | --- |
| YH636E2S11 | York 3 Ton Heat Pump | 1 | $2,368.24 | $2,368.24 |
| JHE36B5CD2SS1 | York Air Handler | 1 | $1,245.65 | $1,245.65 |
| S18HK1650806 | 7.5kW Electric Heat Kit | 1 | $137.02 | $137.02 |
| 8627876 | A.O. Smith Signature 900 50 Gal Hybrid Water Heater | 1 | $1,680.90 | $1,680.90 |

Subtotal: $5,431.81
Tax: $0.00
TOTAL: $5,431.81

| Authorized Signature ________________________ | Date 8/12/26 |
| --- | --- |

| PO Number | PO-0010 | Date | 08/12/2026 |
| --- | --- | --- | --- |
| Vendor | Air Carolinas 103 E J J Dr Greensboro, NC 27406 | Terms | Net 30 |
| Customer | Kiondra Watson | Quote | 067011 |
| Install Address | 8416 Larkmead Forest Drive, Charlotte, NC 28269 | Reference | #10 |
| Bill To | Leading Energy Solutions LLC 10034 Goose Landing Dr Charlotte, NC 28269 | Buyer | Leading Energy Solutions |

| Item | Description | Qty | Unit Cost | Amount |
| --- | --- | --- | --- | --- |
| 8627876 | A.O. Smith Signature 900 50 Gal Hybrid Water Heater | 1 | $1,680.90 | $1,680.90 |

Subtotal: $1,680.90
Tax: $0.00
TOTAL: $1,680.90

8/12/20268/12/2026

| Authorized Signature ________________________ | Date 8/12/26 |
| --- | --- |